## INPUTS
| capex': |  | 5
| gen': |  | 2000 | max gen capacity (MW) |  |  | h | 200 |  | mgh | 392000000000 | J
| cap': |  | 200 | max dam capacity (ML) |  |  | m | 200000000 |  |  | 392000 | MJ
| res': |  | 100 | starting dam capacity (ML) |  |  | g | 9.8 |  |  | 108.8889 | MWh
| water_factor': |  | 0.01 | MWh/ML??
| pump_round_trip': |  | 0.8
| CAPEX: |  | #NAME?
| elec_res_temp |  | 10000 | Initial storage in dam (MWh)
| elec _cap |  | 20000 | Max storage in dam (MWh)
=+ve: network needs power
=-ve = network has excess power
|  | energy to release |  |  | energy to store |  |  | elec_res_temp
i | supply_need | supply > cap | supply > store | elec_to_release | supply > cap | supply > store | elec to store | 10000 | in_out of storage | elec_used | ABS(elec_used)
0 | -937.18 | 0 | 0 | 0 | -749.744 | -749.744 | -749.744 | 10749.744 | -749.744 | -937.18 | 937.18
1 | 2451.3499 | 2000 | 2451.3499 | 2000 | 0 | 0 | 0 | 8749.744 | 2000 | 2000 | 2000
2 | 2185.1989 | 2000 | 2185.1989 | 2000 | 0 | 0 | 0 | 6749.744 | 2000 | 2000 | 2000
3 | -395.3379 | 0 | 0 | 0 | -316.2703 | -316.2703 | -316.2703 | 7066.0143 | -316.2703 | -395.3379 | 395.3379
4 | 1613.4076 | 1613.4076 | 1613.4076 | 1613.4076 | 0 | 0 | 0 | 5452.6067 | 1613.4076 | 1613.4076 | 1613.4076
5 | -514.038 | 0 | 0 | 0 | -411.2304 | -411.2304 | -411.2304 | 5863.8371 | -411.2304 | -514.038 | 514.038
6 | 2494.9291 | 2000 | 2494.9291 | 2000 | 0 | 0 | 0 | 3863.8371 | 2000 | 2000 | 2000
7 | -2438.8341 | 0 | 0 | 0 | -1600 | -1951.0673 | -1600 | 5463.8371 | -1600 | -2000 | 2000
8 | -1694.7539 | 0 | 0 | 0 | -1355.8032 | -1355.8032 | -1355.8032 | 6819.6403 | -1355.8032 | -1694.7539 | 1694.7539
9 | -553.9026 | 0 | 0 | 0 | -443.122 | -443.122 | -443.122 | 7262.7623 | -443.122 | -553.9026 | 553.9026
10 | -77.0338 | 0 | 0 | 0 | -61.627 | -61.627 | -61.627 | 7324.3893 | -61.627 | -77.0338 | 77.0338
11 | -901.8143 | 0 | 0 | 0 | -721.4515 | -721.4515 | -721.4515 | 8045.8408 | -721.4515 | -901.8143 | 901.8143
12 | -1427.4294 | 0 | 0 | 0 | -1141.9435 | -1141.9435 | -1141.9435 | 9187.7844 | -1141.9435 | -1427.4294 | 1427.4294
13 | 1980.9206 | 1980.9206 | 1980.9206 | 1980.9206 | 0 | 0 | 0 | 7206.8637 | 1980.9206 | 1980.9206 | 1980.9206
14 | 1453.9266 | 1453.9266 | 1453.9266 | 1453.9266 | 0 | 0 | 0 | 5752.9371 | 1453.9266 | 1453.9266 | 1453.9266
15 | -323.1103 | 0 | 0 | 0 | -258.4883 | -258.4883 | -258.4883 | 6011.4254 | -258.4883 | -323.1103 | 323.1103
16 | 444.465 | 444.465 | 444.465 | 444.465 | 0 | 0 | 0 | 5566.9604 | 444.465 | 444.465 | 444.465
17 | -210.5636 | 0 | 0 | 0 | -168.4509 | -168.4509 | -168.4509 | 5735.4113 | -168.4509 | -210.5636 | 210.5636
18 | -2006.195 | 0 | 0 | 0 | -1600 | -1604.956 | -1600 | 7335.4113 | -1600 | -2000 | 2000
19 | 1463.3753 | 1463.3753 | 1463.3753 | 1463.3753 | 0 | 0 | 0 | 5872.036 | 1463.3753 | 1463.3753 | 1463.3753
[10 empty] | capex | 10000

## testX
5 | -937.18 | -937.18
2000 | 2451.3499 | 2000
200 | 2185.1989 | 2000
100 | -395.3379 | -395.3379
0.01 | 1613.4076 | 1613.4076
0.8 | -514.038 | -514.038
10000 | 2494.9291 | 2000
| -2438.8341 | -2000
| -1694.7539 | -1694.7539
| -553.9026 | -553.9026
| -77.0338 | -77.0338
| -901.8143 | -901.8143
| -1427.4294 | -1427.4294
| 1980.9206 | 1980.9206
| 1453.9266 | 1453.9266
| -323.1103 | -323.1103
| 444.465 | 444.465
| -210.5636 | -210.5636
| -2006.195 | -2000

## test1
2 | 1900 | 1900
2000 | 1900 | 1900
500 | 1900 | 1900
250 | 1900 | 1900
0.01 | 1900 | 1900
0.8 | 1900 | 1900
3800 | 1900 | 1900
| 1900 | 1900
| 1900 | 1900
| 1900 | 1900
| 1900 | 1900
| 1900 | 1900
| 1900 | 1900
| 1900 | 300
| 1900 | 0
| 1900 | 0
| 1900 | 0
| 1900 | 0
| 1900 | 0

## test2
2 | 200 | 200
2000 | 200 | 200
500 | 200 | 200
250 | 200 | 200
0.01 | 200 | 200
0.8 | 200 | 200
4000 | 200 | 200
| 200 | 200
| 200 | 200
| 200 | 200
| 200 | 200
| 1999 | 1999
| 2000 | 2000
| 2001 | 2000
| 2200 | 2000
| 200 | 200
| 200 | 200
| 200 | 200
| 200 | 200

## test3
2 | -1900 | -1900
2000 | -1900 | -1900
500 | -1900 | -1900
250 | -1900 | -1900
0.01 | -1900 | -1900
0.8 | -1900 | -1900
3800 | -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -1900
| -1900 | -850
| -1900 | 0
| -1900 | 0

## test4
2 | -200 | -200
2000 | -200 | -200
500 | -200 | -200
250 | -200 | -200
0.01 | -1999 | -1999
0.8 | -2000 | -2000
4000 | -2001 | -2000
| -2200 | -2000
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200
| -200 | -200

## test5
2 | 1345.5703 | 1345.5703
2000 | -15.1841 | -15.1841
500 | -1776.0534 | -1776.0534
250 | 413.1327 | 413.1327
0.01 | 1226.1416 | 1226.1416
0.8 | -1846.0663 | -1846.0663
4000 | 1901.9754 | 1901.9754
| -1756.2759 | -1756.2759
| 2320.3859 | 2000
| -745.9389 | -745.9389
| -377.9 | -377.9
| -489.4562 | -489.4562
| -1969.5228 | -1969.5228
| -1683.694 | -1683.694
| 518.3027 | 518.3027
| -285.7829 | -285.7829
| 1905.1356 | 1905.1356
| -977.0665 | -977.0665
| -802.2115 | -802.2115

## test6
2 | 1785.714 | 1785.714
2000 | 255.9353 | 255.9353
500 | 609.1615 | 609.1615
250 | -1848.046 | -1848.046
0.01 | 1235.44 | 1235.44
1.2 | -1579.8318 | -1579.8318
4000 | 526.3438 | 526.3438
| 378.4155 | 378.4155
| 87.8878 | 87.8878
| 2123.5544 | 2000
| 1669.7599 | 1669.7599
| -816.6677 | -816.6677
| -1835.1479 | -1835.1479
| 434.4844 | 434.4844
| -1988.5756 | -1988.5756
| 1786.8393 | 1786.8393
| 1692.4672 | 1692.4672
| 2083.9515 | 2000
| 1981.4646 | 1981.4646

## test7
2 | 2241.5195 | 2000
2000 | 61.4171 | 61.4171
100 | 1982.1607 | 1982.1607
100 | 2352.7804 | 2000
0.01 | 518.4407 | 518.4407
0.8 | 573.7702 | 573.7702
4000 | -529.9793 | -529.9793
| -2384.9593 | -2000
| 763.5353 | 763.5353
| -1259.4147 | -1259.4147
| -895.0892 | -895.0892
| -211.8803 | -211.8803
| -733.8128 | -733.8128
| -1923.2436 | -1923.2436
| 2359.0964 | 2000
| 2056.2916 | 2000
| -1500.7091 | -1500.7091
| -1336.2285 | -1336.2285
| -1451.3162 | -1451.3162

## test8
2 | 1249.9698 | 0
0 | -1770.5324 | 0
200 | 597.8275 | 0
100 | -703.9648 | 0
0.01 | -397.3418 | 0
0.8 | -24.6056 | 0
0 | -819.6105 | 0
| -704.37 | 0
| 1214.7155 | 0
| 273.3437 | 0
| -1337.2343 | 0
| 1456.6046 | 0
| -557.1236 | 0
| -1543.1885 | 0
| 763.9791 | 0
| 596.8318 | 0
| 1578.0076 | 0
| 1256.3343 | 0
| 467.3499 | 0

## test9
2 | -2258.0095 | -2000
2000 | -1127.1472 | -1127.1472
200 | 1497.7057 | 1497.7057
0 | -1285.4022 | -1285.4022
0.01 | 76.3106 | 76.3106
0.8 | 1909.0447 | 1909.0447
4000 | 651.61 | 46.9785
| 414.8066 | 0
| 1870.6572 | 0
| -2469.3496 | -2000
| -2183.3747 | -2000
| -1740.9383 | -1740.9383
| 2310.4713 | 2000
| -624.5031 | -624.5031
| -990.2922 | -990.2922
| -1003.6422 | -1003.6422
| 2108.4499 | 2000
| 2446.3533 | 2000
| -1026.5938 | -1026.5938

## test10
5 | -1790.0164 | -1790.0164
2000 | 2354.5702 | 2000
200 | -1235.6045 | -1235.6045
100 | -1986.2597 | -1986.2597
0.01 | 956.3715 | 956.3715
0.8 | 1809.2137 | 1809.2137
10000 | 1694.5071 | 1694.5071
| -1650.8156 | -1650.8156
| -1255.878 | -1255.878
| -1308.6858 | -1308.6858
| 519.177 | 519.177
| -633.0455 | -633.0455
| 955.9753 | 955.9753
| 727.2019 | 727.2019
| 2487.3214 | 2000
| -1045.1654 | -1045.1654
| 1697.7765 | 1697.7765
| -1941.2172 | -1941.2172
| -1406.0118 | -1406.0118